## Hoja1
Discipline | Equipment Name | Vendor (or Supplier) Name | Reference PO No. | Part Name | Material Specification | Reference Document / Drawing No. | Unit of Measure | Recommended Q'ty
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-10302) | S.W 4.5T(304L/GRAP./304L/304L) / 12" ANSI 300# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41103 | S.W 4.5T(304L/GRAP./304L/304L) / 10" ANSI 300# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41104) | S.W 4.5T(304L/GRAP./304L/304L) / 10" ANSI 300# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41201) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41301) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41401) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41402) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41501) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41601) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-41701) | S.W 4.5T(304L/GRAP./304L/304L) / 6" ANSI 600# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Flow Element | WISE CONTROL (Woojin Instruments Co., Ltd) | 2022BS0410 | Gasket for Orifice Flange Ass`y (FE-71121) | TFE SHEET 3.2T / 4" ANSI 300# RF | VP-CLX-WJ1-EJ-0005 | EA | 2
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~0.5bar / 1/2" NPT / 316SS / Pipe Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~12bar / 1/2" NPT / 316SS / Pipe Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~60bar / 1/2" NPT / 316SS / Pipe Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~20bar / 1/2" NPT / 316SS / Pipe Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~100bar / 1/2" NPT / 316SS / Pipe Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~10bar / 1/2" NPT / 316SS / Direct Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge | 0~4bar / 1/2" NPT / 316SS / Direct Mounting | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | 2-Way Manifold Valve | 1/2" NPT.F x 1/2" NPT.F, 316LSS, Maker : Hy-Lok | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Dampner | 1/2" NPT.F x 1/2" NPT.M, 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Gauge Protector | 1/2" NPT.F x 1/2" NPT.M, 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Pressure Gauge (Diaphragm) | 0~6bar / 2" 150#FF / Diaphragm : Hastelloy C-276 / Flange : 316SS / with Gauge Protector | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Gas Filled Temperature Gauge with Well | -200~70'C / U/T: 220/140mm / 1" SW / 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Gas Filled Temperature Gauge with Well | -200~70'C / U/T: 130/110mm / 1" SW / 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Gas Filled Temperature Gauge with Well | -200~70'C / U/T: 160/120mm / 1" SW / 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Gas Filled Temperature Gauge with Well | -200~70'C / U/T: 100/100mm / 1" SW / 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Bimetal Temperature Gauge with Well | 0~70'C / U/T: 100/40mm / 3/4" NPT / 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1
Insturment | Local Gauge | Woojin Instruments Co., Ltd. | 2022BS0431 | Bimetal Temperature Gauge with Well | 0~70'C / U/T: 400/75mm / 2" 150#RF/ 316SS | VP-CLX-WJ2-EJ-0005 | EA | 1